## Example UCUM v1.5 2020_June
The Unified Code for Units of Measure (UCUM) Copyright © 1999-2020 Regenstrief Institute, Inc. and The UCUM Organization, Indianapolis, IN. All rights reserved. * This table of examples does not include all possible UCUM codes. It includes the most common codes needed for routine laboratory and clinical measures but is not meant to be a comprehensive list. See http://unitsofmeasure.org for the full UCUM specification. This table was compiled by the National Library of Medicine, National Institutes of Health, U.S. Department of Health and Human Services with content contributions from Intermountain Healthcare and the Regenstrief Institute, and is currently maintained by the Regenstrief Institute.
Row # (not a code) | UCUM_CODE | Description of the Unit (using UCUM descriptions where they exist) | Comment | Last Updated (see Revisions tab for details) | Version correction published | Corrected by (initials RG = Rebecca Goodwin) | Row # at time of correction (not a code) | Previous UCUM version (with Errors or Omissions) | Description of Change Made
1 | 10.L/min | 10 liter per minute
2 | 10.L/(min.m2) | 10 liter per minute per square meter
3 | 10.uN.s/(cm5.m2) | 10 micronewton second per centimeter to the fifth power per square meter
4 | 10*4/uL | 10 thousand per microliter
5 | 10*8 | 100 million
6 | 24.h | 24 hour
7 | {absorbance} | absorbance
8 | {activity} | activity
9 | [AU] | allergy unit
10 | {AHF'U} | American Hospital Formulary unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 10 | {AHF’U} | Changed apostrophe format from ’ to '
11 | A | ampere
12 | A/m | ampere per meter
13 | [arb'U] | arbitrary unit
14 | [arb'U]/mL | arbitrary unit per milliliter
15 | {ARU} | aspirin response unit
16 | atm | atmosphere
17 | ag/{cell} | attogram per cell
18 | bar | bar
19 | Bq | Becquerel
20 | [beth'U] | Bethesda unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 20 | [beth’U] | Changed apostrophe format from ’ to '
21 | 10*9/L | billion per liter
22 | 10*9/uL | billion per microliter
23 | 10*9/mL | billion per milliliter
24 | {binding_index} | binding index
25 | [bdsk'U] | Bodansky unit
26 | {breaths}/min | breaths per minute
27 | {CAG_repeats} | CAG trinucleotide repeats
28 | cal | calorie
29 | {cells} | cells
30 | {cells}/[HPF] | cells per high power field
31 | {cells}/uL | cells per microliter
32 | cg | centigram
33 | cL | centiliter
34 | cm | centimeter
35 | cm[Hg] | centimeter of mercury
36 | cm[H2O] | centimeter of water
37 | cm[H2O]/L/s | centimeter of water per liter per second
38 | cm[H2O]/s/m | centimeter of water per second per meter
39 | cm/s | centimeter per second
40 | cP | centipoise
41 | cSt | centistoke
42 | {delta_OD} | change in (delta) optical density
43 | {clock_time} | clock time e.g 12:30PM
44 | [CFU] | colony forming unit
45 | [CFU]/L | colony forming unit per liter
46 | [CFU]/mL | colony forming unit per milliliter
47 | {CAE'U} | complement activity enzyme unit
48 | {CH100'U} | complement CH100 unit
49 | {copies} | copies
50 | {copies}/ug | copies per microgram
51 | {copies}/mL | copies per milliliter
52 | {count} | count
53 | {CPM} | counts per minute
54 | {CPM}/10*3{cell} | counts per minute per thousand cells
55 | cm3 | cubic centimeter
56 | [cin_i] | cubic inch (international)
57 | m3/s | cubic meter per second
58 | {Ct_value} | Cycle threshold value
59 | d | day
60 | d/(7.d) | day per 7 day
61 | d/wk | days per week
62 | dB | decibel
63 | dg | decigram
64 | dL | deciliter
65 | dm | decimeter
66 | deg | degree (plane angle)
67 | Cel | degree Celsius
68 | [degF] | degree Fahrenheit
69 | K | degree Kelvin
70 | K/W | degree Kelvin per Watt
71 | deg/s | degree per second
72 | daL/min | dekaliter per minute
73 | daL/min/m2 | dekaliter per minute per square meter
74 | {dilution} | dilution
75 | [diop] | diopter
76 | [dr_av] | dram (US and British)
77 | [drp] | drop (1/12 milliliter)
78 | dyn.s/cm | dyne second per centimeter
79 | dyn.s/(cm.m2) | dyne second per centimeter per square meter
80 | {Ehrlich'U} | Ehrlich unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 73 | {Ehrlich’U} | Changed apostrophe format from ’ to '
81 | {Ehrlich'U}/100.g | Ehrlich unit per 100 gram |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 74 | {Ehrlich’U}/100g | Changed apostrophe format from ’ to ' and added period between 100 and g
82 | {Ehrlich'U}/(2.h) | Ehrlich unit per 2 hour |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 75 | {Ehrlich’U}/(2.h) | Changed apostrophe format from ’ to '
83 | {Ehrlich'U}/d | Ehrlich unit per day |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 76 | {Ehrlich’U}/d | Changed apostrophe format from ’ to '
84 | {Ehrlich'U}/dL | Ehrlich unit per deciliter
85 | {EIA_index} | EIA index
86 | {EIA_titer} | EIA titer
87 | {EIA'U} | EIA unit
88 | {EIA'U}/U | EIA unit per enzyme unit
89 | {EV} | EIA value
90 | eV | electron Volt
91 | {ELISA'U} | ELISA unit
92 | U | enzyme unit
93 | U/10 | enzyme unit per 10
94 | U/10*10 | enzyme unit per 10 billion
95 | U/10*10{cells} | enzyme unit per 10 billion cells
96 | U/(10.g){feces} | enzyme unit per 10 gram of feces
97 | U/(12.h) | enzyme unit per 12 hour
98 | U/(2.h) | enzyme unit per 2 hour
99 | U/(24.h) | enzyme unit per 24 hour
100 | U/10*9 | enzyme unit per billion
101 | U/d | enzyme unit per day
102 | U/dL | enzyme unit per deciliter
103 | U/g | enzyme unit per gram
104 | U/g{creat} | enzyme unit per gram of creatinine
105 | U/g{Hb} | enzyme unit per gram of hemoglobin
106 | U/g{protein} | enzyme unit per gram of protein |  |  |  |  | 99 | U/g{protein}
107 | U/h | enzyme unit per hour
108 | U/kg{Hb} | enzyme unit per kilogram of hemoglobin
109 | U/L | enzyme unit per liter
110 | U{25Cel}/L | enzyme unit per liter at 25 deg Celsius
111 | U{37Cel}/L | enzyme unit per liter at 37 deg Celsius
112 | U/mL | enzyme unit per milliliter
113 | U/mL{RBCs} | enzyme unit per milliliter of red blood cells
114 | U/mmol{creat} | enzyme unit per millimole of creatinine
115 | U/10*6 | enzyme unit per million
116 | U/min | enzyme unit per minute
117 | U/s | enzyme unit per second
118 | U/10*12 | enzyme unit per trillion
119 | U/10*12{RBCs} | enzyme unit per trillion red blood cells
120 | eq | equivalent
121 | eq/L | equivalent per liter
122 | eq/umol | equivalent per micromole
123 | eq/mL | equivalent per milliliter
124 | eq/mmol | equivalent per millimole
125 | erg | erg
126 | F | Farad
127 | [ft_us]/[ft_us] | feet (US) per feet (US)
128 | fg | femtogram
129 | fL | femtoliter
130 | fm | femtometer
131 | fmol | femtomole
132 | fmol/g | femtomole per gram
133 | fmol/L | femtomole per liter
134 | fmol/mg | femtomole per milligram
135 | fmol/mg{cyt_prot} | femtomole per milligram of cytosol protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 127 | fmol/mg{cytosol_protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
136 | fmol/mg{prot} | femtomole per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 128 | fmol/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
137 | fmol/mL | femtomole per milliliter
138 | [foz_us] | fluid ounce (US)
139 | {FIU} | fluorescent intensity unit
140 | [ft_i] | foot (international)
141 | {fraction} | fraction
142 | [Ch] | French (catheter gauge)
143 | {GAA_repeats} | GAA trinucleotide repeats
144 | [gal_us] | gallon (US)
145 | {genomes}/mL | genomes per milliliter
146 | {Globules}/[HPF] | globules (drops) per high power field
147 | g | gram
148 | g.m | gram meter
149 | g.m/{beat} | gram meter per heart beat
150 | g{creat} | gram of creatinine
151 | g{Hb} | gram of hemoglobin
152 | g{total_nit} | gram of total nitrogen
153 | g{total_prot} | gram of total protein
154 | g{wet_tissue} | gram of wet tissue
155 | g/kg/(8.h) | gram per kilogram per 8 hour |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 147 | g/kg/8.h | Added parentheses around 8.h
156 | g/(100.g) | gram per 100 gram |  | 2011-10-04 | v 1.1 released 10/4/2011 | RG | 148 | g/100g | Added period between 100 and g
157 | g/(12.h) | gram per 12 hour
158 | g/(24.h) | gram per 24 hour
159 | g/(3.d) | gram per 3 days
160 | g/(4.h) | gram per 4 hour
161 | g/(48.h) | gram per 48 hour
162 | g/(5.h) | gram per 5 hour
163 | g/(6.h) | gram per 6 hour
164 | g/(72.h) | gram per 72 hour
165 | g/(8.h){shift} | gram per 8 hour shift
166 | g/cm3 | gram per cubic centimeter
167 | g/d | gram per day
168 | g/dL | gram per deciliter
169 | g/g | gram per gram
170 | g/g{creat} | gram per gram of creatinine
171 | g/g{globulin} | gram per gram of globulin
172 | g/g{tissue} | gram per gram of tissue
173 | g/h | gram per hour
174 | g/h/m2 | gram per hour per square meter
175 | g/kg | gram per kilogram |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 167 | g/kg | deleted trailing space after closing bracket
176 | g/kg/(8.h){shift} | gram per kilogram per 8 hour shift
177 | g/kg/d | gram per kilogram per day
178 | g/kg/h | gram per kilogram per hour
179 | g/kg/min | gram per kilogram per minute
180 | g/L | gram per liter
181 | g/mg | gram per milligram
182 | g/mL | gram per milliliter
183 | g/mmol | gram per millimole
184 | g/min | gram per minute
185 | g/mol{creat} | gram per mole of creatinine
186 | g/{specimen} | gram per specimen
187 | g/cm2 | gram per square centimeter
188 | g/m2 | gram per square meter
189 | g/{total_output} | gram per total output
190 | g/{total_weight} | gram per total weight
191 | Gy | Gray
192 | {beats}/min | heart beats per minute
193 | H | Henry
194 | Hz | Hertz
195 | [HPF] | high power field
196 | h | hour
197 | h/d | hour per day
198 | h/wk | hour per week
199 | [APL'U]/mL | IgA anticardiolipin unit per milliliter** | (**anticardiolipin can also be called "biologic activity of anticardiolipin" or "antiphospholipid")
200 | [APL'U] | IgA anticardiolipin unit** | (**anticardiolipin can also be called "biologic activity of anticardiolipin" or "antiphospholipid")
201 | {APS'U} | IgA antiphosphatidylserine unit
202 | [GPL'U]/mL | IgG anticardiolipin unit per milliliter** | (**anticardiolipin can also be called "biologic activity of anticardiolipin" or "antiphospholipid")
203 | [GPL'U] | IgG anticardiolipin unit** | (**anticardiolipin can also be called "biologic activity of anticardiolipin" or "antiphospholipid")
204 | {GPS'U} | IgG antiphosphatidylserine unit
205 | [MPL'U]/mL | IgM anticardiolipin unit per milliliter**
206 | [MPL'U] | IgM anticardiolipin unit** | (**anticardiolipin can also be called "biologic activity of anticardiolipin" or "antiphospholipid")
207 | {MPS'U} | IgM antiphosphatidylserine unit
208 | {MPS'U}/mL | IgM antiphosphatidylserine unit per milliliter
209 | {ImmuneComplex'U} | immune complex unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 198 | {ImmuneComplex’U} | Changed apostrophe format from ’ to '
210 | {ISR} | immune status ratio
211 | {IFA_index} | immunofluorescence assay index
212 | {IFA_titer} | Immunofluorescence assay titer
213 | [in_i] | inch (international)
214 | [in_i'H2O] | inch (international) of water
215 | [in_us] | inches (US)
216 | {index_val} | index value
217 | {index} | index value
218 | {HA_titer} | influenza hemagglutination titer
219 | {INR} | international normalized ratio
220 | [IU] | international unit
221 | [IU]/(2.h) | international unit per 2 hour
222 | [IU]/(24.h) | international unit per 24 hour
223 | [IU]/10*9{RBCs} | international unit per billion red blood cells
224 | [IU]/d | international unit per day
225 | [IU]/dL | international unit per deciliter
226 | [IU]/g | international unit per gram
227 | [IU]/g{Hb} | international unit per gram of hemoglobin
228 | [IU]/h | international unit per hour
229 | [IU]/kg | international unit per kilogram
230 | [IU]/kg/d | international unit per kilogram per day
231 | [IU]/L | international unit per liter
232 | [IU]/L{37Cel} | international unit per liter at 37 degrees Celsius
233 | [IU]/mg{creat} | international unit per milligram of creatinine
234 | [IU]/mL | international unit per milliliter
235 | [IU]/min | international unit per minute
236 | J | joule
237 | J/L | joule per liter
238 | {JDF'U} | Juvenile Diabetes Foundation unit
239 | {JDF'U}/L | Juvenile Diabetes Foundation unit per liter
240 | {KCT'U} | kaolin clotting time
241 | kat | katal
242 | kat/kg | katal per kilogram
243 | kat/L | katal per liter
244 | kU | kilo enzyme unit
245 | kU/g | kilo enzyme unit per gram
246 | kU/L | kilo enzyme unit per liter
247 | kU/L{class} | kilo enzyme unit per liter class
248 | kU/mL | kilo enzyme unit per milliliter
249 | k[IU]/L | kilo international unit per liter
250 | k[IU]/mL | kilo international unit per milliliter
251 | kcal | kilocalorie
252 | kcal/(24.h) | kilocalorie per 24 hour
253 | kcal/d | kilocalorie per day
254 | kcal/h | kilocalorie per hour
255 | kcal/kg/(24.h) | kilocalorie per kilogram per 24 hour
256 | kcal/[oz_av] | kilocalorie per ounce (US & British)
257 | kg | kilogram
258 | kg.m/s | kilogram meter per second
259 | kg/m3 | kilogram per cubic meter
260 | kg/h | kilogram per hour
261 | kg/L | kilogram per liter
262 | kg/min | kilogram per minute
263 | kg/mol | kilogram per mole
264 | kg/s | kilogram per second
265 | kg/(s.m2) | kilogram per second per square meter
266 | kg/m2 | kilogram per square meter
267 | kL | kiloliter
268 | km | kilometer
269 | kPa | kilopascal
270 | ks | kilosecond
271 | [ka'U] | King Armstrong unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 259 | [ka’U] | Changed apostrophe format from ’ to '
272 | {KRONU'U}/mL | Kronus unit per milliliter
273 | [knk'U] | Kunkel unit |  | 2016-07-18 | v 1.4 released 7/18/2016 | RG | 259 | [KNK’U] | v1.4: deleted trailing spaces v1.2: Changed apostrophe format from ’ to ' and deleted trailing space after closing bracket
274 | L | liter
275 | L/(24.h) | liter per 24 hour
276 | L/(8.h) | liter per 8 hour
277 | L/d | liter per day
278 | L/h | liter per hour
279 | L/kg | liter per kilogram
280 | L/L | liter per liter
281 | L/min | liter per minute
282 | L/min/m2 | liter per minute per square meter
283 | L/(min.m2) | liter per minute per square meter
284 | L/s | liter per second
285 | L/s/s2 | liter per second per square second
286 | {Log_copies}/mL | log (base 10) copies per milliliter
287 | {Log_IU} | log (base 10) international unit
288 | {Log_IU}/mL | log (base 10) international unit per milliliter
289 | {Log} | log base 10
290 | [LPF] | low power field
291 | lm | lumen
292 | lm.m2 | lumen square meter
293 | {Lyme_index_value} | Lyme index value
294 | [mclg'U] | Maclagan unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 281 | [MCLG’U] | Changed apostrophe format from ’ to '
295 | Ms | megasecond
296 | [MET].min/wk | metabolic equivalent minute per week
297 | m | meter
298 | m/s | meter per second
299 | m/s2 | meter per square second
300 | t | metric ton
301 | uU/g | micro enzyme unit per gram
302 | uU/L | micro enzyme unit per liter
303 | uU/mL | micro enzyme unit per milliliter
304 | u[IU] | micro international unit
305 | u[IU]/mL | micro international unit per milliliter
306 | ueq | microequivalent
307 | ueq/L | microequivalent per liter
308 | ueq/mL | microequivalent per milliliter
309 | ug | microgram
310 | ug/g{feces} | microgram per gram of feces
311 | ug{FEU}/mL | microgram fibrinogen equivalent unit per milliliter
312 | ug/(100.g) | microgram per 100 gram |  | 2011-10-04 | v 1.1 released 10/4/2011 | RG | 298 | ug/100g | Added period between 100 and g
313 | ug/(24.h) | microgram per 24 hour
314 | ug/(8.h) | microgram per 8 hour
315 | ug/m3 | microgram per cubic meter
316 | ug/d | microgram per day
317 | ug/dL | microgram per deciliter
318 | ug/dL{RBCs} | microgram per deciliter of red blood cells
319 | ug/g | microgram per gram
320 | ug/g{creat} | microgram per gram of creatinine
321 | ug/g{dry_tissue} | microgram per gram of dry tissue
322 | ug/g{dry_wt} | microgram per gram of dry weight
323 | ug/g{hair} | microgram per gram of hair
324 | ug/g{Hb} | microgram per gram of hemoglobin
325 | ug/g{tissue} | microgram per gram of tissue
326 | ug/h | microgram per hour
327 | ug/kg | microgram per kilogram
328 | ug/kg/(8.h) | microgram per kilogram per 8 hour
329 | ug/kg/d | microgram per kilogram per day
330 | ug/kg/h | microgram per kilogram per hour
331 | ug/kg/min | microgram per kilogram per minute
332 | ug/L | microgram per liter
333 | ug/L{RBCs} | microgram per liter of red blood cells
334 | ug/L/(24.h) | microgram per liter per 24 hour
335 | ug/mg | microgram per milligram
336 | ug/mg{creat} | microgram per milligram of creatinine
337 | ug/mL | microgram per milliliter
338 | ug/mL{class} | microgram per milliliter class
339 | ug/mL{eqv} | microgram per milliliter equivalent
340 | ug/mmol | microgram per millimole
341 | ug/mmol{creat} | microgram per millimole of creatinine
342 | ug/min | microgram per minute
343 | ug/ng | microgram per nanogram
344 | ug/{specimen} | microgram per specimen
345 | ug/[sft_i] | microgram per square foot (international)
346 | ug/m2 | microgram per square meter
347 | u[IU]/L | microinternational unit per liter
348 | ukat | microkatal
349 | uL | microliter
350 | uL/(2.h) | microliter per 2 hour
351 | uL/h | microliter per hour
352 | um | micrometer
353 | umol | micromole
354 | umol{BCE}/mol | micromole bone collagen equivalent per mole
355 | umol/(2.h) | micromole per 2 hour
356 | umol/(24.h) | micromole per 24 hour
357 | umol/(8.h) | micromole per 8 hour
358 | umol/d | micromole per day
359 | umol/dL | micromole per deciliter
360 | umol/dL{GF} | micromole per deciliter of glomerular filtrate
361 | umol/g | micromole per gram
362 | umol/g{creat} | micromole per gram of creatinine
363 | umol/g{Hb} | micromole per gram of hemoglobin
364 | umol/h | micromole per hour
365 | umol/kg | micromole per kilogram
366 | umol/kg{feces} | micromole per kilogram of feces
367 | umol/L | micromole per liter
368 | umol/L{RBCs} | micromole per liter of red blood cells
369 | umol/L/h | micromole per liter per hour
370 | umol/umol | micromole per micromole
371 | umol/umol{creat} | micromole per micromole of creatinine
372 | umol/mg | micromole per milligram
373 | umol/mg{creat} | micromole per milligram of creatinine
374 | umol/mL | micromole per milliliter
375 | umol/mL/min | micromole per milliliter per minute
376 | umol/mmol | micromole per millimole
377 | umol/mmol{creat} | micromole per millimole of creatinine
378 | umol/10*6{RBC} | micromole per million red blood cell
379 | umol/min | micromole per minute
380 | umol/min/g | micromole per minute per gram
381 | umol/min/g{mucosa} | micromole per minute per gram of mucosa
382 | umol/min/g{prot} | micromole per minute per gram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 365 | umol/min/g{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
383 | umol/min/L | micromole per minute per liter
384 | umol/mol | micromole per mole
385 | umol/mol{creat} | micromole per mole of creatinine
386 | umol/mol{Hb} | micromole per mole of hemoglobin
387 | um/s | microns per second
388 | uOhm | microOhm
389 | us | microsecond
390 | uV | microvolt
391 | [mi_i] | mile (international)
392 | mU/g | milli enzyme unit per gram
393 | mU/mL | milli enzyme unit per milliliter
394 | mU/mL/min | milli enzyme unit per milliliter per minute
395 | mU/mmol{creat} | milli enzyme unit per millimole of creatinine
396 | mU/mmol{RBCs} | milli enzyme unit per millimole of red blood cells
397 | m[IU]/mL | milli international unit per milliliter
398 | mU/g{Hb} | milli enzyme unit per gram of hemoglobin
399 | mU/g{prot} | milli enzyme unit per gram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 382 | mU/g{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
400 | mU/L | milli enzyme unit per liter
401 | mU/mg | milli enzyme unit per milligram
402 | mU/mg{creat} | milli enzyme unit per milligram of creatinine
403 | m[IU]/L | milli international unit per liter
404 | mA | milliampere
405 | mbar | millibar
406 | mbar/L/s | millibar per liter per second
407 | mbar.s/L | millibar second per liter
408 | meq | milliequivalent
409 | meq/(2.h) | milliequivalent per 2 hour
410 | meq/(24.h) | milliequivalent per 24 hour
411 | meq/(8.h) | milliequivalent per 8 hour
412 | meq/d | milliequivalent per day
413 | meq/dL | milliequivalent per deciliter
414 | meq/g | milliequivalent per gram
415 | meq/g{creat} | milliequivalent per gram of creatinine
416 | meq/h | milliequivalent per hour
417 | meq/kg | milliequivalent per kilogram
418 | meq/kg/h | milliequivalent per kilogram per hour
419 | meq/L | milliequivalent per liter
420 | meq/mL | milliequivalent per milliliter
421 | meq/min | milliequivalent per minute
422 | meq/{specimen} | milliequivalent per specimen
423 | meq/m2 | milliequivalent per square meter
424 | meq/{total_volume} | milliequivalent per total volume
425 | mg | milligram
426 | mg{FEU}/L | milligram fibrinogen equivalent unit per liter
427 | mg/(10.h) | milligram per 10 hour
428 | mg/(12.h) | milligram per 12 hour
429 | mg/(2.h) | milligram per 2 hour
430 | mg/(24.h) | milligram per 24 hour
431 | mg/(6.h) | milligram per 6 hour
432 | mg/(72.h) | milligram per 72 hour
433 | mg/(8.h) | milligram per 8 hour
434 | mg/{collection} | milligram per collection
435 | mg/m3 | milligram per cubic meter
436 | mg/d | milligram per day
437 | mg/d/{1.73_m2} | milligram per day per 1.73 square meter |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 422 | mg/d/(1.73_m2) | Changed parentheses to curly brackets
438 | mg/dL | milligram per deciliter
439 | mg/dL{RBCs} | milligram per deciliter of red blood cells
440 | mg/g | milligram per gram
441 | mg/g{creat} | milligram per gram of creatinine
442 | mg/g{dry_tissue} | milligram per gram of dry tissue
443 | mg/g{feces} | milligram per gram of feces
444 | mg/g{tissue} | milligram per gram of tissue
445 | mg/g{wet_tissue} | milligram per gram of wet tissue
446 | mg/h | milligram per hour
447 | mg/kg | milligram per kilogram
448 | mg/kg/(8.h) | milligram per kilogram per 8 hour
449 | mg/kg/d | milligram per kilogram per day
450 | mg/kg/h | milligram per kilogram per hour
451 | mg/kg/min | milligram per kilogram per minute
452 | mg/L | milligram per liter
453 | mg/L{RBCs} | milligram per liter of red blood cells
454 | mg/mg | milligram per milligram
455 | mg/mg{creat} | milligram per milligram of creatinine
456 | mg/mL | milligram per milliliter
457 | mg/mmol | milligram per millimole
458 | mg/mmol{creat} | milligram per millimole of creatinine
459 | mg/min | milligram per minute
460 | mg/{specimen} | milligram per specimen
461 | mg/m2 | milligram per square meter
462 | mg/{total_output} | milligram per total output
463 | mg/{total_volume} | milligram per total volume
464 | mg/wk | milligram per week
465 | mL | milliliter
466 | mL{fetal_RBCs} | milliliter of fetal red blood cells
467 | mL/(10.h) | milliliter per 10 hour
468 | mL/(12.h) | milliliter per 12 hour
469 | mL/(2.h) | milliliter per 2 hour
470 | mL/(24.h) | milliliter per 24 hour
471 | mL/(4.h) | milliliter per 4 hour
472 | mL/(5.h) | milliliter per 5 hour
473 | mL/(6.h) | milliliter per 6 hour
474 | mL/(72.h) | milliliter per 72 hour
475 | mL/(8.h) | milliliter per 8 hour
476 | mL/(8.h)/kg | milliliter per 8 hour per kilogram |  | 2014-09-23 | v 1.3 released 9/26/2014 | RG | 459 | mL(8.h)/kg | Corrected syntax to match narrative definition.
477 | mL/cm[H2O] | milliliter per centimeter of water
478 | mL/d | milliliter per day
479 | mL/dL | milliliter per deciliter
480 | mL/{beat} | milliliter per heart beat
481 | mL/{beat}/m2 | milliliter per heart beat per square meter
482 | mL/h | milliliter per hour
483 | mL/kg | milliliter per kilogram
484 | mL/kg/(8.h) | milliliter per kilogram per 8 hour
485 | mL/kg/d | milliliter per kilogram per day
486 | mL/kg/h | milliliter per kilogram per hour
487 | mL/kg/min | milliliter per kilogram per minute
488 | mL/mbar | milliliter per millibar
489 | mL/mm | milliliter per millimeter
490 | mL/min | milliliter per minute
491 | mL/min/{1.73_m2} | milliliter per minute per 1.73 square meter
492 | mL/min/m2 | milliliter per minute per square meter
493 | mL/s | milliliter per second
494 | mL/[sin_i] | milliliter per square inch (international)
495 | mL/m2 | milliliter per square meter
496 | mm | millimeter
497 | mm[Hg] | millimeter of mercury | Note: 1atm=760Torr=760mmHg=101kPa=101000Pa=14.7psi
498 | mm[H2O] | millimeter of water
499 | mm/h | millimeter per hour
500 | mm/min | millimeter per minute
501 | mmol | millimole
502 | mmol/(12.h) | millimole per 12 hour
503 | mmol/(2.h) | millimole per 2 hour
504 | mmol/(24.h) | millimole per 24 hour
505 | mmol/(5.h) | millimole per 5 hour
506 | mmol/(6.h) | millimole per 6 hour
507 | mmol/(8.h) | millimole per 8 hour
508 | mmol/d | millimole per day
509 | mmol/dL | millimole per deciliter
510 | mmol/{ejaculate} | millimole per ejaculate
511 | mmol/g | millimole per gram
512 | mmol/g{creat} | millimole per gram of creatinine
513 | mmol/h | millimole per hour
514 | mmol/h/mg{Hb} | millimole per hour per milligram of hemoglobin
515 | mmol/h/mg{prot} | millimole per hour per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 498 | mmol/h/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
516 | mmol/kg | millimole per kilogram
517 | mmol/kg/(8.h) | millimole per kilogram per 8 hour
518 | mmol/kg/d | millimole per kilogram per day
519 | mmol/kg/h | millimole per kilogram per hour
520 | mmol/kg/min | millimole per kilogram per minute
521 | mmol/L | millimole per liter
522 | mmol/L{RBCs} | millimole per liter of red blood cells
523 | mmol/mmol | millimole per millimole
524 | mmol/mmol{urea} | millimole per millimole of urea
525 | mmol/mmol{creat} | millimole per millmole of creatinine
526 | mmol/min | millimole per minute
527 | mmol/mol | millimole per mole
528 | mmol/mol{creat} | millimole per mole of creatinine
529 | mmol/s/L | millimole per second per liter
530 | mmol/{specimen} | millimole per specimen
531 | mmol/m2 | millimole per square meter
532 | mmol/{total_vol} | millimole per total volume
533 | 10*6 | million
534 | 10*6.[CFU]/L | million colony forming unit per liter
535 | 10*6.[IU] | million international unit
536 | 10*6/(24.h) | million per 24 hour
537 | 10*6/kg | million per kilogram
538 | 10*6/L | million per liter
539 | 10*6/uL | million per microliter
540 | 10*6/mL | million per milliliter
541 | mosm | milliosmole
542 | mosm/kg | milliosmole per kilogram
543 | mosm/L | milliosmole per liter
544 | mPa | millipascal
545 | mPa.s | millipascal second
546 | ms | millisecond
547 | mV | millivolt
548 | mV/s | millivolt per second
549 | {minidrop}/min | minidrop per minute
550 | {minidrop}/s | minidrop per second
551 | min | minute
552 | min/d | minute per day
553 | min/wk | minute per week
554 | mol | mole
555 | mol/m3 | mole per cubic meter
556 | mol/kg | mole per kilogram
557 | mol/kg/s | mole per kilogram per second
558 | mol/L | mole per liter
559 | mol/mL | mole per milliliter
560 | mol/mol | mole per mole
561 | mol/s | mole per second
562 | {#}/{platelet} | molecule per platelet |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 543 | {molecule}/{platelet} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
563 | mo | month
564 | {mm/dd/yyyy} | month-day-year
565 | {M.o.M} | multiple of the median
566 | {mutation} | mutation
567 | nU/mL | nanoenzyme unit per milliliter
568 | nU/{RBC} | nanoenzyme unit per red blood cell
569 | ng | nanogram
570 | ng{FEU}/mL | nanogram fibrinogen equivalent unit per milliliter
571 | ng/(24.h) | nanogram per 24 hour
572 | ng/(8.h) | nanogram per 8 hour
573 | ng/d | nanogram per day
574 | ng/dL | nanogram per deciliter
575 | ng/U | nanogram per enzyme unit
576 | ng/g | nanogram per gram
577 | ng/g{creat} | nanogram per gram of creatinine
578 | ng/h | nanogram per hour
579 | ng/kg | nanogram per kilogram
580 | ng/kg/(8.h) | nanogram per kilogram per 8 hour
581 | ng/kg/h | nanogram per kilogram per hour
582 | ng/kg/min | nanogram per kilogram per minute
583 | ng/L | nanogram per liter
584 | ng/mg | nanogram per milligram
585 | ng/mg{creat} | nanogram per milligram of creatinine
586 | ng/mg{prot} | nanogram per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 567 | ng/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
587 | ng/mg/h | nanogram per milligram per hour
588 | ng/mL{RBCs} | nanogram per milliliter of red blood cells
589 | ng/mL/h | nanogram per milliliter per hour
590 | ng/10*6 | nanogram per million
591 | ng/10*6{RBCs} | nanogram per million red blood cells
592 | ng/mL | nanogram per millliiter
593 | ng/min | nanogram per minute
594 | ng/s | nanogram per second
595 | ng/m2 | nanogram per square meter
596 | nkat | nanokatal
597 | nL | nanoliter
598 | nm | nanometer
599 | nm/s/L | nanometer per second per liter
600 | nmol | nanomole
601 | nmol{BCE} | nanomole bone collagen equivalent
602 | nmol{BCE}/L | nanomole bone collagen equivalent per liter
603 | nmol/mmol{creat} | nanomole bone collagen equivalent per millimole of creatinine |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 584 | nmol{BCE}/mmol{creat} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
604 | nmol/mg{prot} | nanomole of 1/2 cystine per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 585 | nmol{1/2cys}/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
605 | nmol{ATP} | nanomole of ATP
606 | nmol/(24.h) | nanomole per 24 hour
607 | nmol/d | nanomole per day
608 | nmol/dL | nanomole per deciliter
609 | nmol/dL{GF} | nanomole per deciliter of glomerular filtrate
610 | nmol/g | nanomole per gram
611 | nmol/g{creat} | nanomole per gram of creatinine
612 | nmol/g{dry_wt} | nanomole per gram of dry weight
613 | nmol/h/L | nanomole per hour per liter
614 | nmol/h/mg{prot} | nanomole per hour per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 595 | nmol/h/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
615 | nmol/h/mL | nanomole per hour per milliliter
616 | nmol/L | nanomole per liter
617 | nmol/L{RBCs} | nanomole per liter of red blood cells
618 | nmol/L/mmol{creat} | nanomole per liter per millimole of creatinine
619 | nmol/m/mg{prot} | nanomole per meter per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 599 | nmol/m/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
620 | nmol/umol{creat} | nanomole per micromole of creatinine
621 | nmol/mg | nanomole per milligram
622 | nmol/mg{creat} | nanomole per milligram of creatinine
623 | nmol/mg{prot} | nanomole per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 603 | nmol/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
624 | nmol/mg{prot}/h | nanomole per milligram of protein per hour |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 604 | nmol/mg{protein}/h | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
625 | nmol/mg/h | nanomole per milligram per hour
626 | nmol/mL | nanomole per milliliter
627 | nmol/mL/h | nanomole per milliliter per hour
628 | nmol/mL/min | nanomole per milliliter per minute
629 | nmol/mmol | nanomole per millimole
630 | nmol/mmol{creat} | nanomole per millimole of creatinine
631 | nmol/min | nanomole per minute
632 | nmol/min/mg{Hb} | nanomole per minute per milligram of hemoglobin
633 | nmol/min/mg{prot} | nanomole per minute per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 613 | nmol/min/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
634 | nmol/min/mg{protein} | nanomole per minute per milligram protein
635 | nmol/min/mL | nanomole per minute per milliliter
636 | nmol/min/10*6{cells} | nanomole per minute per million cells
637 | nmol/mol | nanomole per mole
638 | nmol/mol{creat} | nanomole per mole creatinine
639 | nmol/nmol | nanomole per nanomole
640 | nmol/s | nanomole per second
641 | nmol/s/L | nanomole per second per liter
642 | ns | nanosecond
643 | N | Newton
644 | N.cm | Newton centimeter
645 | N.s | Newton second
646 | {#} | number
647 | {#}/a | number per annum (year)
648 | {#}/d | number per day
649 | {#}/g | number per gram
650 | {#}/[HPF] | number per high power field
651 | {#}/L | number per liter
652 | {#}/[LPF] | number per low power field
653 | {#}/uL | number per microliter
654 | {#}/mL | number per milliliter
655 | {#}/min | number per minute
656 | {#}/wk | number per week
657 | Ohm | Ohm
658 | Ohm.m | Ohm meter
659 | 10*5 | one hundred thousand
660 | {OD_unit} | optical density unit
661 | osm | osmole
662 | osm/kg | osmole per kilogram
663 | osm/L | osmole per liter
664 | [oz_av] | ounce (US and British)
665 | {Pan_Bio'U} | panbio unit
666 | [ppb] | part per billion
667 | [ppm] | part per million
668 | [ppm]{v/v} | part per million in volume per volume
669 | [ppth] | part per thousand
670 | [pptr] | part per trillion |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 646 | [ppt] | Added missing r
671 | Pa | Pascal
672 | /10*10 | per 10 billion
673 | /10*4{RBCs} | per 10 thousand red blood cells
674 | /100 | per 100
675 | /100{cells} | per 100 cells
676 | /100{neutrophils} | per 100 neutrophils
677 | /100{spermatozoa} | per 100 spermatozoa
678 | /100{WBCs} | per 100 white blood cells
679 | /[arb'U] | per arbitrary unit
680 | /10*9 | per billion
681 | /cm[H2O] | per centimeter of water
682 | /m3 | per cubic meter
683 | /d | per day
684 | /dL | per deciliter
685 | /{entity} | per entity
686 | /U | per enzyme unit
687 | /g | per gram
688 | /g{creat} | per gram of creatinine
689 | /g{Hb} | per gram of hemoglobin
690 | /g{tot_nit} | per gram of total nitrogen
691 | /g{tot_prot} | per gram of total protein
692 | /g{wet_tis} | per gram of wet tissue
693 | /[HPF] | per high power field
694 | /h | per hour
695 | /[IU] | per international unit
696 | /kg | per kilogram
697 | /kg{body_wt} | per kilogram of body weight
698 | /L | per liter
699 | /[LPF] | per low power field
700 | /uL | per microliter
701 | /mg | per milligram
702 | /mL | per milliliter
703 | /mm | per millimeter
704 | /mmol{creat} | per millimole of creatinine
705 | /10*6 | per million
706 | /min | per minute
707 | /mo | per month
708 | /{OIF} | per oil immersion field
709 | /s | per second
710 | /m2 | per square meter
711 | /10*3 | per thousand
712 | /10*3{RBCs} | per thousand red blood cells
713 | /10*12 | per trillion
714 | /10*12{RBCs} | per trillion red blood cells
715 | /(12.h) | per twelve hour
716 | /wk | per week
717 | /a | per year
718 | % | percent
719 | %{loss_AChR} | percent loss of acetylcholine receptor
720 | %{penetration} | percent penetration
721 | %{abnormal} | percent abnormal
722 | %{activity} | percent activity
723 | %{aggregation} | percent aggregation
724 | %{at_60_min} | percent at 60 minute
725 | %{basal_activity} | percent basal activity
726 | %{binding} | percent binding
727 | %{blockade} | percent blockade
728 | %{blocked} | percent blocked
729 | %{bound} | percent bound
730 | %{breakdown} | percent breakdown
731 | %{vol} | percent by volume
732 | %{deficient} | percent deficient
733 | %{dose} | percent dose
734 | %{excretion} | percent excretion
735 | %{Hb} | percent hemoglobin
736 | %{hemolysis} | percent hemolysis
737 | %{index} | percent index
738 | %{inhibition} | percent inhibition
739 | %{loss} | percent loss
740 | %{lysis} | percent lysis
741 | %{normal} | percent normal
742 | %{pooled_plasma} | percent normal pooled plasma |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 716 | %{normal_pooled_plasma} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
743 | %{bacteria} | percent of bacteria
744 | %{baseline} | percent of baseline
745 | %{cells} | percent of cells
746 | %{RBCs} | percent of red blood cells
747 | %{WBCs} | percent of white blood cells
748 | %{positive} | percent positive
749 | %{reactive} | percent reactive
750 | %{recovery} | percent recovery
751 | %{reference} | percent reference
752 | %{residual} | percent residual
753 | %{response} | percent response
754 | %{saturation} | percent saturation
755 | %{total} | percent total
756 | %{uptake} | percent uptake
757 | %{viable} | percent viable
758 | {percentile} | percentile
759 | [pH] | pH
760 | {phenotype} | phenotype
761 | pA | picoampere
762 | pg | picogram
763 | pg/{cell} | picogram per cell
764 | pg/dL | picogram per deciliter
765 | pg/L | picogram per liter
766 | pg/mg | picogram per milligram
767 | pg/mg{creat} | picogram per milligram of creatinine
768 | pg/mL | picogram per milliliter
769 | pg/mL{sLT} | picogram per milliliter sulfidoleukotrienes
770 | pg/mm | picogram per millimeter
771 | pg/{RBC} | picogram per red blood cell
772 | pkat | picokatal
773 | pL | picoliter
774 | pm | picometer
775 | pmol | picomole
776 | pmol/(24.h) | picomole per 24 hour
777 | pmol/d | picomole per day
778 | pmol/dL | picomole per deciliter
779 | pmol/g | picomole per gram
780 | pmol/h/mg{prot} | picomole per hour per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 752 | pmol/h/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
781 | pmol/H/mg{protein} | picomole per hour per milligram protein
782 | pmol/h/mL | picomole per hour per milliliter
783 | pmol/L | picomole per liter
784 | pmol/umol | picomole per micromole
785 | pmol/umol{creat} | picomole per micromole of creatinine
786 | pmol/mg{prot} | picomole per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 757 | pmol/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
787 | pmol/mL | picomole per milliliter
788 | pmol/mmol{creat} | picomole per millimole of creatinine
789 | pmol/min | picomole per minute
790 | pmol/min/mg{prot} | picomole per minute per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 761 | pmol/min/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
791 | pmol/{RBC} | picomole per red blood cell
792 | ps | picosecond
793 | pT | picotesla
794 | [pt_us] | pint (US)
795 | [lb_av] | pound (US and British)
796 | [psi] | pound per square inch
797 | [qt_us] | quart (US)
798 | {ratio} | ratio
799 | {RBC}/uL | red blood cell per microliter
800 | %{relative} | relative percent
801 | {rel_saturation} | relative saturation |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 772 | {relative_saturation} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
802 | {risk} | risk
803 | {Rubella_virus} | rubella virus
804 | {saturation} | saturation
805 | {score} | score
806 | s | second
807 | s/{control} | second per control
808 | {shift} | shift
809 | S | Siemens
810 | Sv | Sievert
811 | {s_co_ratio} | signal to cutoff ratio
812 | {spermatozoa}/mL | spermatozoa per milliliter
813 | cm2 | square centimeter
814 | cm2/s | square centimeter per second
815 | dm2/s2 | square decimeter per square second
816 | [sft_i] | square foot (international)
817 | [sin_i] | square inch (international)
818 | m2 | square meter
819 | m2/s | square meter per second
820 | mm2 | square millimeter
821 | [syd_i] | square yard (international)
822 | {STDV} | standard deviation
823 | {Tscore} | t score
824 | [tbs_us] | tablespoon (US)
825 | [tsp_us] | teaspoon (US)
826 | T | Tesla
827 | 10*3 | thousand
828 | 10*3{copies}/mL | thousand copies per milliliter
829 | 10*3/L | thousand per liter
830 | 10*3/uL | thousand per microliter
831 | 10*3/mL | thousand per milliliter
832 | 10*3{RBCs} | thousand red blood cells
833 | {TSI_index} | thyroid-stimulating immunoglobulin index
834 | {TmStp} | time stamp
835 | {titer} | titer
836 | [todd'U] | Todd unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 805 | [Todd’U] | Changed apostrophe format from ’ to '
837 | Torr | Torr | Note: 1atm=760Torr=760mmHg=101kPa=101000Pa=14.7psi
838 | 10*12/L | trillion per liter
839 | [oz_tr] | Troy ounce
840 | [tb'U] | tuberculin unit
841 | V | volt
842 | Wb | Weber
843 | wk | week
844 | {WBCs} | white blood cells
845 | [yd_i] | yard (international)
846 | a | year
847 | {yyyy} | year
848 | {Zscore} | z score

## PREFACE
Preface to Table of Example UCUM Codes for Electronic Messaging
Attached is an enumeration of The Unified Code for Units of Measure (UCUM), designed to make it clear what the UCUM syntax would produce for specific unit patterns in electronic communication. This early version, composed in a relatively short time frame, is based on content provided by Intermountain Healthcare, from a National Library of Medicine/Regenstrief Institute project that is analyzing raw units from more than 23 laboratory sources and their translation to UCUM (http://unitsofmeasure.org/) and from the HL7 table of units. In this version we have not included all of the content from all of these sources. Specifically for this version, we excluded units for which we could not quickly find definitions or clear patterns of usage, units of measure that we believed would only be used in pharmacy dispensing, and units used for purely clinical reporting (e.g. cigarette pack-years). We have included most of the pure metric units that were in the source table whether they apply directly to the laboratory or not because they will be generally useful and because we could not always be sure what should be excluded.
We have included a row number in the first column of the table. Please use this number when suggesting changes or identifying problems with a given term. This number has no significance beyond identifying a unique row in this table. In particular, it does not officially denote a UCUM code. The table is ordered alphabetically by the content of the column Description of the Unit.
Some details of the UCUM syntax follow, but for a more complete explanation than this please refer to the full UCUM specification at http://unitsofmeasure.org/.
The UCUM codes that you see in the table are mixed-case ASCII text. The standard metric units all have their usual mixed-case representation, so milligram per deciliter is portrayed in UCUM as mg/dL. US, British, and other special units are usually enclosed in square brackets, e.g. inches is [in_i] (inches international) — the “i” is needed because the British inch and the US inch were slightly different until about 1980 when all parties agreed the international inch. In UCUM a dot (.) means multiply, a number to the right of a string means a power, and the divisor sign (/) means divide. So m2 means meter squared.
Strings that are often included in units of measure but are adornments for human reading and that are not formally units of measure are enclosed in curlicue brackets {}. For example, mg/mol{creat} means milligram per mole of creatinine.
UCUM does not formally specify what to put inside of the curlicue brackets except to insist there be no spaces, because spaces will break the parser and the UCUM units converter. In principle, users could adjust the contents of any such curlicue brackets because they aren’t a formal part of UCUM. In this table, we encourage the use of the same string consistently within curlicue brackets, e.g. {creat} for creatinine and {Hb} for hemoglobin. However, this is not an absolute constraint of UCUM, and, when needed, users may adjust the content within the curlicue brackets.
Beginning with Version 1.4, the Revisions Log is now an Appendix at the end of the document.
Version History (see details in Revisions Log) • Version 1.5, Released 06/2020 • Version 1.4, Released 07/18/2016 • Version 1.3, Released 09/26/2014 • Version 1.2, Released 01/31/2014 • Version 1.1, Released 10/04/2011 • Version 1.0, Initial release: 09/23/2011
The Unified Code for Units of Measure (UCUM) Copyright © 1999-2020 Regenstrief Institute, Inc. and The UCUM Organization, Indianapolis, IN. All rights reserved. * This table of examples does not include all possible UCUM codes. It includes the most common codes needed for routine laboratory and clinical measures but is not meant to be a comprehensive list. See http://unitsofmeasure.org for the full UCUM specification. This table was compiled by the National Library of Medicine, National Institutes of Health, U.S. Department of Health and Human Services with content contributions from Intermountain Healthcare and the Regenstrief Institute, and is currently maintained by the Regenstrief Institute.

## REVISIONS LOG
Row # of Version in which correction published (not a code) | UCUM_CODE | Description of the Unit (using UCUM descriptions where they exist) | Comment | Last Updated | Version correction published | Corrected by (initials RG = Rebecca Goodwin; BEM = Brenée E. Mitchell) | Row # at time of correction (not a code) | Previous UCUM version (with Errors or Omissions) | Description of Change Made
26 | {breaths}/min | breaths per minute |  |  | v1.5, released 06/2020 | BEM | 26 | N/A | Addition
39 | cm/s | centimeter per second |  |  | v1.5, released 06/2020 | BEM | 39 | N/A | Addition
55 | cm3 | cubic centimeter |  |  | v1.5, released 06/2020 | BEM | 55 | N/A | Addition
58 | {Ct_value} | Cycle threshold value |  |  | v1.5, released 06/2020 | BEM | 58 | N/A | Addition
60 | d/(7.d) | day per 7 day |  |  | v1.5, released 06/2020 | BEM | 60 | N/A | Addition
61 | d/wk | days per week |  |  | v1.5, released 06/2020 | BEM | 61 | N/A | Addition
75 | [diop] | Diopter |  |  | v1.5, released 06/2020 | BEM | 75 | N/A | Addition
127 | [ft_us]/[ft_us] | feet (US) per feet (US) |  |  | v1.5, released 06/2020 | BEM | 127 | N/A | Addition
187 | g/cm2 | gram per square centimeter |  |  | v1.5, released 06/2020 | BEM | 187 | N/A | Addition
197 | h/d | hour per day |  |  | v1.5, released 06/2020 | BEM | 197 | N/A | Addition
198 | h/wk | hour per week |  |  | v1.5, released 06/2020 | BEM | 198 | N/A | Addition
215 | [in_us] | inches (US) |  |  | v1.5, released 06/2020 | BEM | 215 | N/A | Addition
217 | {index} | index value |  |  | v1.5, released 06/2020 | BEM | 217 | N/A | Addition
252 | kcal/(24.h) | kilocalorie per 24 hour |  |  | v1.5, released 06/2020 | BEM | 252 | N/A | Addition
283 | L/min/m2 | liter per minute per sqaure meter |  |  | v1.5, released 06/2020 | BEM | 283 | N/A | Addition
296 | [MET].min/wk | metabolic equivalent minute per week |  |  | v1.5, released 06/2020 | BEM | 296 | N/A | Addition
378 | umol/10*6{RBC} | micromole per million red blood cell |  |  | v1.5, released 06/2020 | BEM | 378 | N/A | Addition
548 | mV/s | millivolt per second |  |  | v1.5, released 06/2020 | BEM | 548 | N/A | Addition
552 | min/d | minute per day |  |  | v1.5, released 06/2020 | BEM | 552 | N/A | Addition
553 | min/wk | minute per week |  |  | v1.5, released 06/2020 | BEM | 553 | N/A | Addition
616 | nmol/h/mL | nanomole per hour per milliliter |  |  | v1.5, released 06/2020 | BEM | 616 | N/A | Addition
634 | nmol/min/mg{protein} | nanomole per minute per milligram protein |  |  | v1.5, released 06/2020 | BEM | 634 | N/A | Addition
639 | nmol/mol{creat} | nanomole per mole creatinine |  |  | v1.5, released 06/2020 | BEM | 639 | N/A | Addition
648 | {#}/a | number per annum (year) |  |  | v1.5, released 06/2020 | BEM | 648 | N/A | Addition
649 | {#}/d | number per day |  |  | v1.5, released 06/2020 | BEM | 649 | N/A | Addition
650 | {#}/g | number per gram |  |  | v1.5, released 06/2020 | BEM | 650 | N/A | Addition
657 | {#}/wk | number per week |  |  | v1.5, released 06/2020 | BEM | 657 | N/A | Addition
754 | %{response} | percent response |  |  | v1.5, released 06/2020 | BEM | 754 | N/A | Addition
770 | pg/mL{sLT} | picogram per milliliter sulfidoleukotrienes |  |  | v1.5, released 06/2020 | BEM | 770 | N/A | Addition
781 | pmol/H/mg{protein} | picomole per hour per milligram protein |  |  | v1.5, released 06/2020 | BEM | 781 | N/A | Addition
802 | {risk} | risk |  |  | v1.5, released 06/2020 | BEM | 802 | N/A | Addition
805 | {score} | score |  |  | v1.5, released 06/2020 | BEM | 805 | N/A | Addition
823 | {Tscore} | t score |  |  | v1.5, released 06/2020 | BEM | 823 | N/A | Addition
834 | {TmStp} | time stamp |  |  | v1.5, released 06/2020 | BEM | 834 | N/A | Addition
847 | {yyyy} | year |  |  | v1.5, released 06/2020 | BEM | 847 | N/A | Addition
848 | {Zscore} | z score |  |  | v1.5, released 06/2020 | BEM | 848 | N/A | Addition
259 | [knk'U] | Kunkel unit |  | 2016-07-18 | v1.4, released 7/18/2016 | RG | 259 | [knk'U] | deleted trailing spaces
685 | /10*3{RBCs} | per thousand red blood cells |  | 2016-07-18 | v1.4, released 7/18/2016 | RG | 685 | /10*3.{RBCs} | deleted dot notation
[removed] | mol/ | mole per | Mol/ implies that different divisors can be used depending on the context. If a divisor is not included, 'mol/' is the same as 'mol'. | 2014-09-24 | v 1.3 released 9/26/2014 | RG | 535 | mol/ | Redundant with mol (row 534).
127 | fmol/mg{cyt_prot} | femtomole per milligram of cytosol protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 127 | fmol/mg{cytosol_protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
128 | fmol/mg{prot} | femtomole per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 128 | fmol/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
365 | umol/min/g{prot} | micromole per minute per gram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 365 | umol/min/g{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
382 | mU/g{prot} | milli enzyme unit per gram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 382 | mU/g{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
459 | mL/(8.h)/kg | milliliter per 8 hour per kilogram |  | 2014-09-23 | v 1.3 released 9/26/2014 | RG | 459 | mL(8.h)/kg | Corrected syntax to match narrative definition.
498 | mmol/h/mg{prot} | millimole per hour per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 498 | mmol/h/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
542 | {#}/{platelet} | molecule per platelet |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 543 | {molecule}/{platelet} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
566 | ng/mg{prot} | nanogram per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 567 | ng/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
583 | nmol/mmol{creat} | nanomole bone collagen equivalent per millimole of creatinine |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 584 | nmol{BCE}/mmol{creat} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
584 | nmol/mg{prot} | nanomole of 1/2 cystine per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 585 | nmol{1/2cys}/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
594 | nmol/h/mg{prot} | nanomole per hour per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 595 | nmol/h/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
598 | nmol/m/mg{prot} | nanomole per meter per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 599 | nmol/m/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
602 | nmol/mg{prot} | nanomole per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 603 | nmol/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
603 | nmol/mg{prot}/h | nanomole per milligram of protein per hour |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 604 | nmol/mg{protein}/h | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
612 | nmol/min/mg{prot} | nanomole per minute per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 613 | nmol/min/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
715 | %{pooled_plasma} | percent normal pooled plasma |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 716 | %{normal_pooled_plasma} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
751 | pmol/h/mg{prot} | picomole per hour per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 752 | pmol/h/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
756 | pmol/mg{prot} | picomole per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 757 | pmol/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
760 | pmol/min/mg{prot} | picomole per minute per milligram of protein |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 761 | pmol/min/mg{protein} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
771 | {rel_saturation} | relative saturation |  | 2014-07-30 | v 1.3 released 9/26/2014 | RG | 772 | {relative_saturation} | abbreviated to shorten string to less than 20 characters to conform to HL7 prescribed field lengths
10 | {AHF'U} | American Hospital Formulary unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 10 | {AHF’U} | Changed apostrophe format from ’ to '
20 | [beth'U] | Bethesda unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 20 | [beth’U] | Changed apostrophe format from ’ to '
73 | {Ehrlich'U} | Ehrlich unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 73 | {Ehrlich’U} | Changed apostrophe format from ’ to '
74 | {Ehrlich'U}/100.g | Ehrlich unit per 100 gram |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 74 | {Ehrlich’U}/100g | Changed apostrophe format from ’ to ' and added period between 100 and g
75 | {Ehrlich'U}/(2.h) | Ehrlich unit per 2 hour |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 75 | {Ehrlich’U}/(2.h) | Changed apostrophe format from ’ to '
76 | {Ehrlich'U}/d | Ehrlich unit per day |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 76 | {Ehrlich’U}/d | Changed apostrophe format from ’ to '
147 | g/kg/(8.h) | gram per kilogram per 8 hour |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 147 | g/kg/8.h | Added parentheses around 8.h
167 | g/kg | gram per kilogram |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 167 | g/kg | deleted trailing space after closing bracket
198 | {ImmuneComplex'U} | immune complex unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 198 | {ImmuneComplex’U} | Changed apostrophe format from ’ to '
257 | [ka'U] | King Armstrong unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 259 | [ka’U] | Changed apostrophe format from ’ to '
259 | [knk'U] | Kunkel unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 261 | [KNK’U] | Changed apostrophe format from ’ to ' and deleted trailing space after closing bracket
279 | [mclg'U] | Maclagan unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 281 | [MCLG’U] | Changed apostrophe format from ’ to '
420 | mg/d/{1.73_m2} | milligram per day per 1.73 square meter |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 422 | mg/d/(1.73_m2) | Changed parentheses to curly brackets
459 | mL(8.h)/kg | milliliter per 8 hour per kilogram |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 461 | mL(8.h.kg) | Corrected syntax to match narrative definition.
644 | [pptr] | part per trillion |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 646 | [ppt] | Added missing r
803 | [todd'U] | Todd unit |  | 2014-01-31 | v 1.2 released 2/6/2014 | RG | 805 | [Todd’U] | Changed apostrophe format from ’ to '
[removed] | k[AU] | kilo allergy unit |  | 2014-02-06 | v 1.2 released 2/6/2014 | RG | 231 | k[AU] | Removed because non-metric unit and discouraged for use because of ambiguous use in EIA testing
[removed] | k[AU]/L | kilo allergy unit per liter |  | 2014-02-06 | v 1.2 released 2/6/2014 | RG | 232 | k[AU]/L | Removed because non-metric unit and discouraged for use because of ambiguous use in EIA testing
148 | g/(100.g) | gram per 100 gram |  | 2011-10-04 | v 1.1 released 10/4/2011 | RG | 148 | g/100g | Added period between 100 and g
148 | g/(100.g) | gram per 100 gram |  | 2011-10-04 | v 1.1 released 10/4/2011 | RG | 148 | g/100g | Added period between 100 and g
257 | [ka'U] | King Armstrong unit |  | 2011-10-04 | v 1.1 released 10/4/2011 | RG | 259 | [KA'U] | Changed to lowercase ka
259 | [knk'U] | Kunkel unit |  | 2011-10-04 | v 1.1 released 10/4/2011 | RG | 261 | [KNK'U] | Changed to lowercase knk
279 | [mclg'U] | Maclagan unit |  | 2011-10-04 | v 1.1 released 10/4/2011 | RG | 281 | [MCLG'U] | Changed to lowercase mclg
296 | ug/(100.g) | microgram per 100 gram |  | 2011-10-04 | v 1.1 released 10/4/2011 | RG | 298 | ug/100g | Added period between 100 and g
296 | ug/(100.g) | microgram per 100 gram |  | 2011-10-04 | v 1.1 released 10/4/2011 | RG | 298 | ug/100g | Added period between 100 and g
803 | [todd'U] | Todd unit |  | 2011-10-04 | v 1.1 released 10/4/2011 | RG | 805 | [Todd’U] | Changed to lowercase t